ANEXO E.

ESPECIFICACIONES TECNICAS  DE LA SOLUCION CORE SWITCH

SWICTHS DE CORE PARA LA UNIVERSIDAD DEL CAUCA

La Universidad del Cauca está interesada en adquirir una solución de switch de core para el campus universitario que cumpla con las siguientes características

| Numero Parte | Descripción | Cantidad |
| --- | --- | --- |
| Descripción General | Actualmente la Universidad del Cauca cuenta con un 100% despliegue de switchs referencia Cisco instalados, monitoreados y distribuidos en diferentes dependencias de la Institución. Teniendo en cuenta la obsolescencia y estado del switch de core y con el fin ampliar la capacidad de la conectividad, ancho de banda, cobertura, visibilidad, seguridad, lograr alta disponibilidad y redundancia de la red cableada Institucional se requiere la renovación del switch de core. Los nuevos switchs deberán contar con capacidad de operar y administrar de manera simultánea switchs nuevos y migrar los switchs ya instalados en la actual infraestructura de red. Es necesario proporcionar la seguridad a la LAN institucional y la visibilidad respectiva. |  |
|  | Especificaciones Detalladas |  |
| C6807-XL-S6T-BUN | Chassis+Fan Tray+ Sup6T+2xPower Supply; IP Services ONLY | 2 |
| CON-SNT-C6807XMD | SNTC-8X5XNBD Chassis+Fan Tray+ Supply IP ser only | 2 |
| C6800-CAMPUS-CORE | Catalyst 6800 Campus Core Deployment; For Tracking Only | 2 |
| C6807-XL-FAN | Catalyst 6807-XL Chassis Fan Tray | 2 |
| C6800-PS-CVR | Catalyst 6800 power supply blank cover | 4 |
| C6800-XL-CVR | Catalyst 6807-XL line card slot cover | 8 |
| C6800-SUP6T | Catalyst 6800 Sup6T (440G/slot) with 8x10GE, 2x40GE | 2 |
| C6800-XL-3KW-AC | Catalyst 6807-XL 3000W Power Supply | 4 |
| CAB-C19-CBN | Cabinet Jumper Power Cord, 250 VAC 16A, C20-C19 Connectors | 4 |
| C6800-32P10G | Catalyst 6800 32 port 10GE with integrated dual DFC4 | 2 |
| C6800-32P10G | Catalyst 6800 32 port 10GE with integrated dual DFC4 | 2 |
| SP6TAEK9Z-15401SY | CAT6800-VS-S6T IOS ADV ENT SERV FULL ENCRYPT | 2 |
| QSFP-4SFP10G-CU5M | QSFP to 4xSFP10G Passive Copper Splitter Cable, 5m | 4 |
| SFP-10G-LR-S | 10GBASE-LR SFP Module, Enterprise-Class | 32 |
| SFP-H10GB-CU5M | 10GBASE-CU SFP+ Cable 5 Meter | 8 |
| N3K-C3048TP-1GE | Nexus 3048TP-1GE 1RU 48 x 10/100/1000 and 4 x 10GE ports | 2 |
| CON-SNT-48TP1GE | SNTC-8X5XNBD Nexus 3048TP-1GE 1RU 48 1GE,4 10GE ports | 2 |
| N2200-PAC-400W | N2K/N3K AC Power Supply, Std airflow (port side exhaust) | 4 |
| CAB-9K12A-NA | Power Cord, 125VAC 13A NEMA 5-15 Plug, North America | 4 |
| N3K-C3048-BAS1K9 | Nexus 3048 Base License | 2 |
| N3K-C3064-ACC-KIT | Nexus 3K/9K Fixed Accessory Kit | 2 |
| N3KUK9-602U3.7 | NX-OS Release 6.0(2)U3(7) | 2 |
| DCNM-LAN-N3K-K9 | DCNM for LAN Advanced Edt. for Nexus 3000 | 2 |
| CON-ECMU-N3LDCNM | SWSS UPGRADES DCNM for LAN Advanced Edt. for Nexus 3000 | 2 |
| N3K-C3048-LAN1K9 | Nexus 3048 LAN Enterprise License | 2 |
| N3K-C3048-FAN | Nexus 3048 Fan Module, Port-side Exhaust | 2 |
| FPR4110IPS-BUN-PR | Cisco Firepower 4110 NGIPS Bundle Promotion | 1 |
| FPR4110-NGIPS-K9 | Cisco Firepower 4110 NGIPS Appliance, 1U, 2 x NetMod Bays | 2 |
| CON-SNT-FPR411IG | SNTC-8X5XNBD Cisco Firepower 4110 | 2 |
| CAB-TA-NA | North America AC Type A Power Cable | 2 |
| SF-FXOS4K-2.1-K9 | Firepower Extensible Operating System (FXOS) for FPR4K | 2 |
| SF-FPR-TD6.2-K9 | Cisco Firepower Threat Defense software v6.2 | 2 |
| FPR4K-SSD200 | Firepower 4000 Series SSD for FPR-4110/4120 | 2 |
| FPR4K-SSD-BBLKD | Firepower 4000 Series SSD Slot Carrier | 2 |
| GLC-TE | 1000BASE-T SFP transceiver module for Category 5 copper wire | 2 |
| FPR4K-ACC-KIT | FPR4K Hardware Accessory Kit (Rack Mounts, Cables) | 2 |
| FPR4K-FAN | Firepower 4000 Series Fan | 12 |
| FPR4K-PWR-AC-1100 | Firepower 4000 Series 1100W AC Power Supply | 2 |
| FPR4K-RACK-MNT | Firepower 4000 Series Rack Mount Kit | 2 |
| FPR4K-PSU-BLANK | Firepower 4000 Series Chassis Power Supply Blank Slot Cover | 2 |
| FPR4K-NM-BLANK | Firepower 4000 Series Network Module Blank Slot Cover | 2 |
| SFP-H10GB-CU5M | 10GBASE-CU SFP+ Cable 5 Meter | 8 |
| FPR4K-NM-BLANK | Firepower 4000 Series Network Module Blank Slot Cover | 2 |
| L-FPR4110T-T= | Cisco FPR4110 Threat Defense Threat Protection License | 2 |
| L-FPR4110T-T-3Y | Cisco FPR4110 Threat Defense Threat Protection 3Y Subs | 2 |
| UCS-SP-C220M4-B-B1 | UCS SP C220M4S Bas1w/2xE52609v4,4x16GB,VIC1227 | 1 |
| CON-SNT-C220BB1 | SMARTNET 8X5XNBD (Not Sold Standalone)C220M4S Bas1w/2xE52609 | 1 |
| UCS-CPU-E52609E | 1.70 GHz E5-2609 v4/85W 8C/20MB Cache/DDR4 1866MHz | 2 |
| UCS-MR-1X161RV-A | 16GB DDR4-2400-MHz RDIMM/PC4-19200/single rank/x4/1.2v | 4 |
| UCSC-MLOM-CSC-02 | Cisco UCS VIC1227 VIC MLOM - Dual Port 10Gb SFP+ | 1 |
| PCIE-E16002-OPTOUT | Emulex Opt Out | 1 |
| UCSC-PSU1-770W | Cisco UCS 770W AC Power Supply for Rack Server | 2 |
| CAB-9K12A-NA | Power Cord, 125VAC 13A NEMA 5-15 Plug, North America | 2 |
| UCSC-RAILB-M4 | Ball Bearing Rail Kit for C220 & C240 M4 & M5 rack servers | 1 |
| N20-BBLKD | UCS 2.5 inch HDD blanking panel | 8 |
| UCS-M4-V4-LBL | Cisco M4 - v4 CPU asset tab ID label (Auto-Expand) | 1 |
| UCSC-HS-C220M4 | Heat sink for UCS C220 M4 rack servers | 2 |
| UCSC-SCCBL220 | Supercap cable 950mm | 1 |
| N20-BKVM | KVM local IO cable for UCS servers console port | 1 |
| UCSC-MRAID12G | Cisco 12G SAS Modular Raid Controller | 1 |
| UCSC-MRAID12G-1GB | Cisco 12Gbps SAS 1GB FBWC Cache module (Raid 0/1/5/6) | 1 |
| UCS-HD600G10K12G= | 600GB 12G SAS 10K RPM SFF HDD | 2 |
| R-MGMT3X-N-K9 | Cisco Ent MGMT: Lic For PI 3.x And APIC EM Solution Apps | 1 |
| CON-ECMU-RMGMT3XN | SWSS UPGRADES Cisco MGMT: Lic For Prime Infra 3.x And | 1 |
| L-MGMT3X-PI-BASE | Cisco Ent MGMT: PI 3.x Platform Base Lic | 1 |
| CON-ECMU-LMGMBASE | SWSS UPGRADES Cisco Ent MGMT PI 3.x Platform Base Lic | 1 |
| R-PI30-SW-K9 | Prime Infrastructure 3.0 Software | 1 |
| CON-ECMU-R30SSWK9 | SWSS UPGRADES Prime Infrastructure | 1 |
| L-MGMT3X-6K-K9 | Cisco Ent MGMT: PI 3.x LF,AS & APIC-EM Lic, 1 Cat 6K | 2 |
| CON-ECMU-LMGMT6KK | SWSS UPGRADES Cisco Ent MGMTPI 3.x LF,AS APIC-EM L | 2 |
| L-MGMT3X-N3K-K9 | Cisco Ent MGMT: PI 3.x LF, AS Lic, 1 Nexus 3K | 2 |
| CON-ECMU-LMGMTN3K | SWSS UPGRADES Cisco Ent MGMT PI 3.x LF, AS Lic, 1 Nex | 2 |
| FMC1000-K9 | Cisco Firepower Management Center 1000 Chassis | 1 |
| CON-SNT-FMC1000K | SNTC-8X5XNBD Cisco Firepower Management Center 1000 C | 1 |
| FMC-PWR-AC-770W | Cisco AC Power Supply 770W for FMC | 2 |
| CAB-9K12A-NA | Power Cord, 125VAC 13A NEMA 5-15 Plug, North America | 2 |
| SF-FMC-6.2-K9 | Cisco Firepower Management Center Software v6.2 | 1 |
| FMC-MRAID12G | Cisco FMC 12G SAS Modular Raid Controller | 1 |
| FMC-SD-32G-S | Cisco FMC 32GB SD Card Module | 1 |
| FMC-MEM-8GB | Cisco 8GB DDR4-2400-MHz RDIMM/PC4-19200/single rank/x4/1.2v | 4 |
| FMC1K-HDD-900G | Cisco FMC 900GB 12GB 10K 2.5" SAS | 2 |
| FMC-CPU-E52620E | Cisco 2.10 GHz E5-2620 v4/85W 8C/20MB Cache/DDR4 2133MHz | 1 |
| R2XX-RAID1 | Enable RAID 1 Setting | 1 |

SWICTHS, UPS EDIFICIO TIC

| SUMINISTRO SWICH EDIFICIO TIC |  |
| --- | --- |
| Suministro Swich Cisco Catalyst 3850 48 Port Full PoE IP Base mínimo un año de garantía y 8X5XNBD. cable de Stack longitud de 1.5. metros | 1 |
| Suministro Swich Cisco Catalyst 2960-X Gige PoE 740W 4 X 1G SFP LAN mínimo un año de garantía y 8X5XNBD | 1 |
| Suministro Swich Catalyst 2960-X 48 Gige 4 X 1G SFP LAN Base mínimo un año de garantía y 8X5XNBD | 1 |
| Suministro Aruba AP-335 802,11a/b/g/n/ac 4x4:4 (5Ghz) 4x4:4 (2.4 GHz) Radio Integrated Antenna Ap + 10/100/1000 Ethernet Indoor Rated Midspan Injector compatible con Aruba 335 + Flat Surface Wall/Ceiling Black Ap Basic Flat Surface Mount Kit + Pc-Ac-An North America AC Power Cord mínimo un año de garantía. | 5 |
| SUMINISTRO UPS EDIFICIO TIC |  |
| Suministro, instalación y puesta en servicio de UPS 3F-5H-40 Kva-, Entrada 208V 3 Fases / Salida 120 V, 208V, 208V - 3 fases / autonomía a full carga: 6 minutos./ doble conversión On-line - 1 año de garantía/instalada en el edificio TIC 2do piso Popayán. | 1 |
| Suministro, instalación y puesta en servicio de UPS 3F-5H-15 Kva-, Entrada 208V 3 Fases / Salida 120 V, 208V, 208V - 3 fases / autonomía a full carga: 6 minutos./ doble conversión On-line - 1 año de garantía/instalada en el edificio TIC 2do piso Popayán. | 1 |
| Nota: la fibra que posee la Universidad es monomodo por tanto los módulos deberán estar adaptados para ello |

El cronograma de actividades debe incluir como mínimo:

|  | TAREA |
| --- | --- |
| FASE I | Transferencia de Conocimiento (para tal fin el oferente seleccionado deberá capacitar a tres funcionarios de las TIC, con una intensidad horaria de mínimo 24 horas en cada una de las soluciones: switch de core y firewall) |
|  | Instalación y configuración de escenario de pruebas |
| FASE II | Planeación y Diseño Detallado |
|  | Definición del plan de migración |
|  | Instalación y configuración en ambiente de operación |
|  | Implementación de Recomendaciones y mejores practicas |
| FASE III | Monitoreo y Acompañamiento Post-implementación. |
|  | Elaboración y entrega de la documentación de la solución |
|  | Entrega a la operación de la solución contratada |